## Instructions and Guidance
Download save a copy of the Risk Assessment on Sheet 3 in the format: RA_CATEGORY_NAME_REFERENCE (RA_STAFF_GORDONOBRIEN_2020_BRMLASER)
Save completed RA as a PDF. Risk Assessments must be signed by you and your project supervisor.
Upload your signed RA to appropriate folder: |  | Completed Risk Assessments
A RISK ASSESSMENT is a written document that records a five-step process:
1. Identifying the hazards in the lab/workplace(s) under your control.
2. Estimate the risk, who might be harned and how.
3. Evaluate the risk using a 'risk matrix'. Are existing precautions adequate or do you need more.
4. Record your findings and implement them -actions to reduce or eliminate the risk.
5. Review your findings, update your RA if nexessary.
A HAZARD is anything that has the potential to cause harm
A HAZARDOUS EVENT takes place when someone of something interacts with the hazard resulting in harm.
Every hazare has a likelyhood and a consequence
LIKELIHOOD is a measure of the chance that a hazardous event will occur.
CONSEQUENCE is the outcome of the hazardous event.
RISK is the combination of the likelihood of a hazardoous event occuring and the consequence of the event.
Risk assessments should be completed using the IOSH (5 x 5) risk rating calculator.
Risk = Likelihood x Consequence
· Likelihood rating from 1- 5 (L)
· Consequence rating from 1-5 (C)
· Multiply these together to obtain a risk rating out of 25 (R)
Although the likelihood and consequence ratings are subjective, they must be realistic.
For the consequence rating, you should judge the foreseeable harm.
Your residual(new) risk rating is lower than your original risk rating.
Think carefully before you change the consequence rating. In most cases, the additional control measures will reduce the likelihood. The consequence (if harm does occur) will be the same.
Risk = Likelihood x Severity
To estimate likelihood and severity the following ranking classification should be used:
Likelihood (L) | Chance of the hazardous event happening
1. Very Unlikely | 1 in a million
2. Unlikely | 1 in a 100,000
3. Fairly Likely | 1 in a 10,000
4. Likely | 1 in a 1,000
5. Very Likely | 1 in a 100
Severity | Consequence (C)
1. Insignificant | No injury
2. Minor | Minor injuries needing first aid
3. Moderate | Up to three days absence
4. Major | More than three days absence
5. Catastrophic | Life changing injuries or death
Steps to Reduce the Risk
1. Eliminate the Hazard where possible
2. Reduce the Hazard |  |  | team*
3. Reduce/Restrict access to the Hazard
4. Impliment SAFE Standard Operating Procedures(SOP)
5. Personal Protective Equipment

## Risk Assessment Form
Project: |  |  | Compressed Gas Details: | Gas Type Bottle Size Experimental Set-up |  |  |  | Supervisors Signiture
Supervisors Name: | [7 empty] | Assessors Signature | Your signature
Assessed by | Your name |  | Location |  |  |  |  | Date for Next Review | 12 months from Date of Assessment
Assessors Position | Your position |  | Date of Assessment
Task | Hazard | People at Risk | What might happen? | Current Control Measures | Current Risk |  |  | New or Modified Control Measures | Person Responsible | Residual Risk
[5 empty] | L (1-5) | C (1-5) | CR |  |  | L (1-5) | C (1-5) | RR
Bottle Handling | Bottle may fall but not explode | Bottle handler | Bottle could land on individual causing a foot / hand injury | Only users that have completed the Compressed Gas Passport training in the last 3 years are permitted to handle compressed gas bottles. Bottle is not to be used and marked for return to BOC. MMBE CTO1 & MMBE Safety Officer to be informed. Incident to be logged wit Safety Office on iProtectU. BOC Emergency Line 01 4091800 or 01 4091899. Acetelyene Bottles are to remain untouched and evacuate the building. | 1 | 3 | 3 | Gas cylinders shall not be left freestanding at any point in time | User | 0 | 0 | 0
Bottle Handling | Bottle may fall and explode | Bottle handler and people in surrounding area | Bottle may get damaged resulting in bottle explosion or bottle becoming a high velocity projectile if calve is damaged. | Sound the closest fire alarm. Call College Security 01 8961999. Call the BOC Emergency Line 01 4091800 or 01 4091899. Inform a fire warden or staff member of the incident. | 1 | 3 | 3 |  |  | 0 | 0 | 0
Bottle Installation |  |  |  | Gas regulators are required to be replaced 5 years from the date stamped on the back of the regulator regardless of when the regulator was first used. | 0 | 0 | 0 |  |  | 0 | 0 | 0
Bottle Installation |  |  |  | Even if the user has completed the Compressed Gas Passport training, only competent users should connect regulators to gas bottles. The technical support staff are all trained and compentent in this area. | 0 | 0 | 0 |  |  | 0 | 0 | 0
Bottle Storage |  |  |  | Unused bottles should never be stored in the lab and should be sent back to BOC | 0 | 0 | 0 |  |  | 0 | 0 | 0
Experimental Work |  |  |  | SOPs need to be up-to-date and available. Elaborate on indivudal experimental set-ups. | 0 | 0 | 0 |  |  | 0 | 0 | 0
Bottle Removal |  |  |  | Please consider | 0 | 0 | 0 |  |  | 0 | 0 | 0
Gas Hazards |  |  |  | Safety information is displayed on the cylinder label and is detailed in the relevant safety data sheet. This information shall be used when carrying out the risk assessment. | 0 | 0 | 0 |  |  | 0 | 0 | 0
Oxygen depletion, which may be due to either combustion or displacement. |  |  |  | Please consider | 0 | 0 | 0 |  |  | 0 | 0 | 0
incompatibility of gases, materials and other substances. |  |  |  | Please consider | 0 | 0 | 0 |  |  | 0 | 0 | 0
Additional? |  |  |  | Please consider | 0 | 0 | 0 |  |  | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 |  |  | 0 | 0 | 0
L | Likelyhood | CR | Current Risk
C | Consiquence | RR | Residual Risk
Note on G8: anng: Please include a justification for scoring if appropriate (Very low score or very high score)
Note on H8: anng: Please include a justification for scoring if appropriate (Very low score or very high score)